## Files
File name | Time measured | Type of measurement | ch1 | ch2 | Reason for change | Useful?
CV1 | 2023-01-30 | Water | NA | NA | Wrong timezone | No
CV2 | 30/01/23 to 02/02/23 | Water and reagents 1 | 14 | 27 | Everything turned off and on again | Maybe
CV3 | 02/02/23 to 04/02/23 | Water and reagents 1 | 14 | 27 | Restarting everything | Maybe
CV4 | 04/02/23 to 05/02/23 | Water and reagents 1 | 35 | 27 | Software lost signal | Maybe
CV5 | 05/02/23 to 06/02/23 | Water and reagents 1 | 13, 9, 10 | 28, 19, 20 | Restarted software | Maybe
CV6 | 06/02/23 to 08/02/23 | Reagents 1 | 10 | 20 | Software lost signal | If cal available
CV7 | 08/02/23 to 11/02/23 | Water, reagents 1 and cal | 10 | 20, 19 | Software lost signal | Yes
CV8 | 11/02/23 to 13/02/23 | Reagents 1 and cal | 10 | 19 | Software lost signal | Yes
CV9 | 13/02/23 to 15/02/23 | Reagents 1 | 10 | 19 | Software lost signal | Yes
CV10 | 15/02/23 to 18/02/23 | Reagents 1, water, reagents 2 | 10,12 | 19,22 | Software lost signal | Yes
CV11 | 2023-02-18 | Reagents 2 | 12 | 22 | Power cut | Yes
CV12 | 19/02/23 to 20/02/23 | Water, reagents 2 | 12 | 22 | Software lost signal | Yes
CV13 | 20/02/2023 to 22/02/23 | Reagents 2, calibration 2 | 12 | 22 | Software lost signal | Yes
CV14 | 22/02/23 to 24/02/23 | Reagents 2 | 12 | 22 | Software lost signal | Yes
CV15 | 24/02/23 to 26/02/23 | Reagents 2 | 12 | 22 | Power cut | Yes
CV16 | 2023-02-27 | Water - cleaning at the campaign | NA | NA |  | No

## Events
Date | Time | Event | File | Ch1 | Ch2
2023-01-30 | 11:20 | Running LOPAP on water | NA | NA | NA
| 13:40 | Abs on (water) | CV1 and CV2 | NA | NA
2023-02-01 | 15:14 | ZA on (water) | CV2 | NA | NA
| 15:29 | ZA off (water) | CV2 | 14 | 27
| 15:33 | Reagents | CV2 | 14 | 27
2023-02-02 | 10:23 | Abs on (water) | CV3 | 14 | 27
2023-02-03 | 9:02 | Tubing replaced (water) | CV3 | 14 | 27
2023-02-04 | 14:15 | Reagents (abs off) | CV4 | 35 | 27
| 15:00 | Abs on (reagents) | CV4 | 35 | 27
| 16:04 | Abs off | CV4 | 35 | 27
| 16:39 | Abs on | CV4 | 35 | 27
| 16:56 | Water | CV4 | 35 | 27
2023-02-05 | 13:20 | Reagents (abs off) | CV5 | 13 | 28
| 13:49 | Abs on (reagents) | CV5 | 13 | 28
| 15:30 | Zero on | CV5 | 13 | 28
| 16:08 | Changed integration times | CV5 | 9 | 19
| 16:29 | Zero off | CV5 | 9 | 19
2023-02-06 | 8:55 | Zero auto cycle started | CV5 | 9 | 19
| 9:15 | Changed integration times | CV5 | 10 | 20
| 12:06 | Stopped flows for leak check | CV5 | 10 | 20
| 12:16 | Instrument running | CV6 | 10 | 20
| 13:48 | Zero on | CV6 | 10 | 20
| 13:58 | Zero off | CV6 | 10 | 20
2023-02-07 | 8:48 | Zero on | CV6 | 10 | 20
| 9:48 | Zero off | CV6 | 10 | 20
| 15:30 | Zero on | CV6 | 10 | 20
| 16:00 | Zero off | CV6 | 10 | 20
| 21:30 | Zero on | CV6 | 10 | 20
| 22:00 | Zero off | CV6 | 10 | 20
2023-02-08 | 27:30 | Zero on | CV6 | 10 | 20
| 28:00 | Zero off | CV6 | 10 | 20
| 8:54 | New file | CV7 | 10 | 20
| 33:00 | Zero off | CV7 | 10 | 20
| 33:30 | Zero on | CV7 | 10 | 20
| 13:38 | Abs 1 closed | CV7 | 10 | 20
| 13:59 | Abs 1 opened | CV7 | 10 | 20
| 14:49 | Zero on | CV7 | 10 | 20
| 15:26 | Zero off | CV7 | 10 | 20
| 17:10 | Zero on | CV7 | 10 | 20
| 17:40 | Zero off | CV7 | 10 | 20
| 23:10 | Zero on | CV7 | 10 | 20
| 23:40 | Zero off | CV7 | 10 | 20
2023-02-09 | 29:10 | Zero on | CV7 | 10 | 20
| 29:40 | Zero off | CV7 | 10 | 20
| 9:52 | Zero on | CV7 | 10 | 20
| 10:19 | Zero off, abs 1 closed | CV7 | 10 | 20
| 10:26 | Abs 1 opened | CV7 | 10 | 20
| 10:38 | Zero on | CV7 | 10 | 20
| 10:59 | Zero off, abs closed | CV7 | 10 | 20
| 11:05 | Abs opened | CV7 | 10 | 20
| 11:20 | Zero on | CV7 | 10 | 20
| 11:47 | Calibration 1 | CV7 | 10 | 20
| 12:26 | Calibration stopped | CV7 | 10 | 20
| 14:14 | Calibration 2 | CV7 | 10 | 20
| 14:50 | Calibration stopped | CV7 | 10 | 20
| 15:46 | Calibration 3 | CV7 | 10 | 20
| 16:19 | Calibration stopped | CV7 | 10 | 20
| 16:39 | Calibration 4 | CV7 | 10 | 20
| 17:13 | Calibration stopped | CV7 | 10 | 20
| 17:36 | Zero off | CV7 | 10 | 20
| 17:40 | Abs off (water) | CV7 | 10 | 20
| 17:52 | Abs on (water) | CV7 | 10 | 20
2023-02-10 | 8:50 | Cleaned inlet | CV7 | 10 | 20
| 9:21 | Zero on | CV7 | 10 | 19
| 11:02 | Zero off, abs closed, reagents | CV7 | 10 | 19
| 11:21 | Abs on (reagents) | CV7 | 10 | 19
| 12:37 | Zero on | CV7 | 10 | 19
| 13:07 | Zero off | CV7 | 10 | 19
| 18:37 | Zero on | CV7 | 10 | 19
| 19:07 | Zero off | CV7 | 10 | 19
2023-02-11 | 24:37 | Zero on | CV7 | 10 | 19
| 25:07 | Zero off | CV7 | 10 | 19
| 2:25 | Tube disconnected - air in abs | CV7 | 10 | 19 | See it in data at 01:56
| 8:45 | Tube reconnected | CV7 | 10 | 19
| 10:56 | New file | CV8 | 10 | 19
| 13:15 | Zero on | CV8 | 10 | 19
| 14:23 | Calibration 5 | CV8 | 10 | 19
| 14:56 | Calibration stopped | CV8 | 10 | 19
| 15:56 | Zero off | CV8 | 10 | 19
| 17:32 | Zero on | CV8 | 10 | 19
| 18:02 | Zero off | CV8 | 10 | 19
| 23:32 | Zero on | CV8 | 10 | 19
2023-02-12 | 24:02 | Zero off | CV8 | 10 | 19
| 29:32 | Zero on | CV8 | 10 | 19
| 30:02 | Zero off | CV8 | 10 | 19
| 9:33 | Abs off (water) | CV8 | 10 | 19
| 9:45 | Abs on (water) | CV8 | 10 | 19
| 10:06 | Abs off (flow calibration) | CV8 | 10 | 19
| 10:51 | Abs on (water) | CV8 | 10 | 19
| 10:53 | Reagents | CV8 | 10 | 19
| 12:03 | Zero on | CV8 | 10 | 19
| 12:33 | Zero off | CV8 | 10 | 19
| 18:03 | Zero on | CV8 | 10 | 19
| 18:33 | Zero off | CV8 | 10 | 19
2023-02-13 | 24:03 | Zero on | CV8 | 10 | 19
| 24:33 | Zero off | CV8 | 10 | 19
| 30:03 | Zero on | CV8 | 10 | 19
| 30:33 | Zero off | CV8 | 10 | 19
| 12:01 | Zero on | CV8 | 10 | 19
| 12:31 | Zero off | CV8 | 10 | 19
| 16:28 | New file | CV9 | 10 | 19
| 18:16 | Zero on | CV9 | 10 | 19
| 18:46 | Zero off | CV9 | 10 | 19
2023-02-14 | 24:31 | Zero on | CV9 | 10 | 19
| 25:01 | Zero off | CV9 | 10 | 19
| 30:46 | Zero on | CV9 | 10 | 19
| 31:16 | Zero off | CV9 | 10 | 19
| 10:48 | Cleaned inlet | CV9 | 10 | 19
| 13:05 | Zero on | CV9 | 10 | 19
| 13:35 | Zero off | CV9 | 10 | 19
| 19:20 | Zero on | CV9 | 10 | 19
| 19:50 | Zero off | CV9 | 10 | 19
2023-02-15 | 25:35 | Zero on | CV9 | 10 | 19
| 26:05 | Zero off | CV9 | 10 | 19
| 31:50 | Zero on | CV9 | 10 | 19
| 32:20 | Zero off | CV9 | 10 | 19
| 14:00 | Zero on | CV9 | 10 | 19
| 14:30 | Zero off | CV9 | 10 | 19
| 16:24 | New file | CV10 | 10 | 19
| 20:15 | Zero on | CV10 | 10 | 19
| 20:45 | Zero off | CV10 | 10 | 19
2023-02-16 | 26:30 | Zero on | CV10 | 10 | 19
| 27:00 | Zero off | CV10 | 10 | 19
| 32:45 | Zero on | CV10 | 10 | 19
| 33:15 | Zero off | CV10 | 10 | 19
| 39:00 | Zero on | CV10 | 10 | 19
| 39:30 | Zero off | CV10 | 10 | 19
| 15:51 | Air in abs, closed abs | CV10 | 10 | 19
| 16:15 | Abs opened, spectra back to normal | CV10 | 10 | 19
| 45:15 | Zero on | CV10 | 10 | 19
| 45:45 | Zero off | CV10 | 10 | 19
2023-02-17 | 51:30 | Zero on | CV10 | 10 | 19
| 52:00 | Zero off | CV10 | 10 | 19
| 9:10 | Start of reagent change | CV10 | 10 | 19
| 9:15 | Water | CV10 | 10 | 19
| 9:25 | Abs on | CV10 | 10 | 19
| 9:40 | Cleaned inlet | CV10 | 10 | 19
| 9:57 | Started replacing tubing (water) | CV10 | 10 | 19
| 10:06 | Tubing replaced (water) | CV10 | 10 | 19
| 10:25 | Air in abs (water) | CV10 | 10 | 19
| 10:30 | Abs on (water) | CV10 | 10 | 19
| 14:15 | Zero on (water) | CV10 | 12 | 22
| 15:02 | Zero off (water), abs off | CV10 | 12 | 22
| 15:20 | Abs on (reagents) | CV10 | 12 | 22
| 15:31 | Abs off (air bubbles) | CV10 | 12 | 22
| 15:44 | Abs on | CV10 | 12 | 22
| 16:28 | Zero on | CV10 | 12 | 22
| 16:59 | Abs off, zero off (air bubbles) | CV10 | 12 | 22
| 17:33 | Abs on | CV10 | 12 | 22
| 17:39 | Zero on | CV10 | 12 | 22
| 18:09 | Zero off | CV10 | 12 | 22
| 23:54 | Zero on | CV10 | 12 | 22
2023-02-18 | 24:24 | Zero off | CV10 | 12 | 22
| 5:17 | Tube disconnected, air in abs | CV10 | 12 | 22
| 8:40 | Abs off | CV10 | 12 | 22
| 8:50 | Abs on | CV10 | 12 | 22
| 8:55 | New file | CV11 | 12 | 22
| 9:23 | Zero on | CV11 | 12 | 22
| 10:23 | Zero off | CV11 | 12 | 22
| 11:01 | Abs 2 disconnected (air bubbles) | CV11 | 12 | 22
| 11:21 | Back to normal | CV11 | 12 | 22
| 16:08 | Zero on | CV11 | 12 | 22
| 16:38 | Zero off | CV11 | 12 | 22
| 17:24 | Power cut | CV11 | 12 | 22
2023-02-19 | 09:00ish | New file | CV12 | 12 | 22
| 9:32 | Abs on (water) | CV12 | 12 | 22
| 9:43 | Abs off (air bubbles) | CV12 | 12 | 22
| 9:50 | Abs on (water) | CV12 | 12 | 22
| 10:14 | Cleaned inlet (water) | CV12 | 12 | 22 | Turned chiller on - had been off since power cut
| 10:30 | Abs off - reagents | CV12 | 12 | 22
| 10:58 | Abs on | CV12 | 12 | 22
| 11:08 | Abs off (air bubbles) | CV12 | 12 | 22
| 11:15 | Abs on | CV12 | 12 | 22
| 14:27 | Auto zero on (zero tube not connected) | CV12 | 12 | 22
| 14:50 | Auto zero stopped - manual zero on | CV12 | 12 | 22
| 15:05 | Zero tube connected | CV12 | 12 | 22
| 15:16 | Zero off | CV12 | 12 | 22
| 16:31 | Zero on | CV12 | 12 | 22
| 17:41 | Air in abs (overnight) | CV12 | 12 | 22
2023-02-20 | 8:39 | Abs closed (air bubbles) | CV12 | 12 | 22
| 9:11 | Abs on (new file) | CV13 | 12 | 22
| 11:06 | Zero on | CV13 | 12 | 22
| 11:36 | Zero off | CV13 | 12 | 22
| 17:21 | Zero on | CV13 | 12 | 22
| 17:51 | Zero off | CV13 | 12 | 22
| 22:57 | Air in abs 1 (overnight) | CV13 | 12 | 22
2023-02-21 | 7:24 | Tube reconnected, abs 1 closed | CV13 | 12 | 22
| 7:59 | Abs 1 opened | CV13 | 12 | 22
| 9:00 | Zero on | CV13 | 12 | 22
| 9:30 | Zero off | CV13 | 12 | 22
| 15:06 | Zero on | CV13 | 12 | 22
| 15:35 | Cal started | CV13 | 12 | 22
| 16:07 | Cal stopped | CV13 | 12 | 22
| 16:45 | Air in abs 1 and 2 | CV13 | 12 | 22
| 16:59 | Abs back, zero on | CV13 | 12 | 22
| 17:29 | Zero off | CV13 | 12 | 22
| 23:14 | Zero on | CV13 | 12 | 22
| 23:44 | Zero off | CV13 | 12 | 22
2023-02-22 | 29:29 | Zero on | CV13 | 12 | 22
| 29:59 | Zero off | CV13 | 12 | 22
| 8:43 | New file | CV14 | 12 | 22
| 35:44 | Zero on | CV14 | 12 | 22
| 36:14 | Zero off | CV14 | 12 | 22
| 41:59 | Zero on | CV14 | 12 | 22
| 42:29 | Zero off | CV14 | 12 | 22
2023-02-23 | 48:14 | Zero on | CV14 | 12 | 22
| 48:44 | Zero off | CV14 | 12 | 22
| 54:29 | Zero on | CV14 | 12 | 22
| 54:59 | Zero off | CV14 | 12 | 22
| 8:35 | R1 replaced with water (flow cal) | CV14 | 12 | 22 | Cleaned inlet in the mean time, had issues with tubing disconnected, all back to normal at 10:46
| 10:46 | Abs opened again, end of flow cal | CV14 | 12 | 22
| 60:44 | Zero on | CV14 | 12 | 22
| 61:14 | Zero off | CV14 | 12 | 22
| 66:59 | Zero on | CV14 | 12 | 22
| 67:29 | Zero off | CV14 | 12 | 22
2023-02-24 | 73:14 | Zero on | CV14 | 12 | 22
| 73:44 | Zero off | CV14 | 12 | 22
| 79:29 | Zero on | CV14 | 12 | 22
| 79:59 | Zero off | CV14 | 12 | 22
| 9:13 | Cleaned inlet | CV14 | 12 | 22
| 9:20 | Looking at air bubbles - ch1 going down | CV14 | 12 | 22
| 10:06 | Liquid pump at 20 | CV14 | 12 | 22
| 10:11 | Liquid pump at 25 | CV14 | 12 | 22
| 10:21 | Liquid pump at 30 | CV14 | 12 | 22
| 10:27 | Liquid pump at 10 | CV14 | 12 | 22
| 11:04 | Back to normal after syringing (?) | CV14 | 12 | 22
| 11:27 | New file | CV15 | 12 | 22
| 13:54 | Zero on | CV15 | 12 | 22
| 14:24 | Zero off | CV15 | 12 | 22
| 20:09 | Zero on | CV15 | 12 | 22
| 20:39 | Zero off | CV15 | 12 | 22
2023-02-25 | 26:24 | Zero on | CV15 | 12 | 22
| 26:54 | Zero off | CV15 | 12 | 22
| 32:39 | Zero on | CV15 | 12 | 22
| 33:09 | Zero off | CV15 | 12 | 22
| 9:50 | Trying to remove air bubbles | CV15 | 12 | 22
| 10:50 | Back to normal (apart from pump at 20, not 10) | CV15 | 12 | 22 | Pump not put back to 10
| 38:54 | Zero on | CV15 | 12 | 22
| 39:24 | Zero off | CV15 | 12 | 22
| 17:41 | Abs 2 not properly connected | CV15 | 12 | 22
2023-02-26 | 8:31 | Closed abs | CV15 | 12 | 22
| 8:39 | Abs 2 reconnected properly - back to normal | CV15 | 12 | 22
| 9:45 | Zero on | CV15 | 12 | 22
| 9:57 | Pump at 10 | CV15 | 12 | 22
| 10:15 | Zero off | CV15 | 12 | 22
| 16:01 | Zero on | CV15 | 12 | 22
| 16:31 | Zero off | CV15 | 12 | 22
| 17:58 | Power cut - end of measurements | CV15 | 12 | 22